## Div. 2
Job Name: Memphis Towers
Division 2: Site Construction
Subdivisions | Project Related Scope / Notes
Demolition | Barry Tower
Remove Window Sills (Wood) - 195 Each
Remove Kitchen Cabinets & Countertops - 52 Each
Remove Bath Vanities & Countertops - 8 Each
Remove Existing Base (Vinyl or Wood W/ Qtr. Round) - 8,263 LF
Remove 3070 Hollow Metal Unit Entry Door Slabs - 35 Each
Remove 3068 Unit Interior Door Slabs - 26 Each
Remove Existing Vinyl Bifold Closet Doors That Still Exist
Remove LVT Flooring - 3,876 SF
Remove & Salvage Firestop Range Extinguishers - 185 Pair
Remove Bath Vanity Mirrors - 59 Each
Remove Medicine Cabinets - 59 Each
Remove Bath Accessories - 54 Units
Remove Soap Dish & Toothbrush Holder Only - 143 Units
Remove Existing Ranges - 105 Each
Remove & Salvage Ranges - 93 Each
Remove Existing Range Hoods (Ducted) - 61 Each
Remove Existing Refrigerators - 198 Each
Remove Existing Window Blinds - 54 Units
Remove Steel Tubs - 6 Each
Remove Fiberglass Three Piece Tub Surrounds - 54 Each
Dumpsters
Floor Prep
Common Areas
Remove Cabinets & Countertops - 1 Location
Remove Existing Base (Vinyl or Wood W/ Qtr. Round) - 8,008 LF
Remove Door Slabs - 15 Each
Remove Door Frames - 4 Each
Remove LVT Flooring - 1,436 SF
Remove Tile Flooring - 3,047 SF
Remove Existing Acoustical Ceiling Tile & Grid - 3,069 SF
Remove Bath Accessories - 4 Bathrooms
Remove Tactile Signs (Unit Entry & Common Area Room Signage) - 305 Each
Remove Common Area Window Coverings
Remove Existing 3'x7' Exterior Windows For Temp Elevator Usage - 13 Each
Dumpsters
Floor Prep
Jefferson Tower
Remove Window Sills (Tile) - 216 Each
Remove Kitchen Cabinets & Countertops - 146 Each
Remove Existing Base (Vinyl or Wood W/ Qtr. Round) - 25,924 LF
Remove 3070 Hollow Metal Unit Entry Door Slabs - 59 Each
Remove 3068 Unit Interior Door Slabs - 118 Each
Remove & Salvage 3068 Unit Bathroom Doors (For Bathroom Renovations) - 146 Each
Remove 2'x2' Acoustical Ceiling Tile & Grid (Unit Bathrooms) - 6,072 SF
Remove Existing Vinyl Bifold Closet Doors That Still Exist
Remove LVT Flooring - 2,475 SF
Remove & Salvage Firestop Range Extinguishers - 121 Pair
Remove Medicine Cabinets - 146 Each
Remove Bath Accessories - 146 Each
Remove Soap Dish & Toothbrush Holder Only - 62 Units
Remove Existing Ranges - 168 Each
Remove & Salvage Ranges - 41 Each
Remove Existing Range Hoods (Ducted) - 148 Each
Remove Existing Refrigerators - 209 Each
Remove Existing Window Blinds - 146 Units
Dumpsters
Floor Prep
Common Areas
Remove Cabinets & Countertops - 5 Locations
Remove Existing Base (Vinyl or Wood W/ Qtr. Round) - 7,580 LF
Remove Door Slabs - 62 Each
Remove Door Frames - 21 Each
Remove LVT Flooring - 9,555 SF
Remove Tile Flooring - 1,905 SF
Remove Existing Acoustical Ceiling Tile & Grid - 9,887 SF
Remove Bath Accessories - 7 Bathrooms
Remove Toilet Partitions - 2 Stalls, 1 Screen
Remove Tactile Signs (Unit Entry & Common Area Room Signage) - 342 Each
Remove Common Area Window Coverings
Remove Exterior Satellite Dishes
Sawcut & Remove Concrete Balcony Railings For Temp Elevator - 12 Each
Remove & Salvage Storm Doors At Ext Doors For Temp Elevator - 12 Each
Dumpsters
Floor Prep
Borda Tower
Remove Kitchen Cabinets & Countertops - 169 Each
Remove Bath Vanities & Countertops - 164 Each
Remove Existing Base (Vinyl or Wood W/ Qtr. Round) - 34,032 LF
Remove 3070 Hollow Metal Unit Entry Door Slabs - 95 Each
Remove 3068 Unit Interior Door Slabs - 78 Each
Remove & Salvage 3068 Unit Bathroom Doors (For Bathroom Renovations) - 6 Each
Remove Patio Door Sliding Screen Doors - 206 Pair
Remove LVT Flooring - 932 SF
Remove Existing Vinyl Bifold Closet Doors That Still Exist
Remove & Salvage Firestop Range Extinguishers - 165 Pair
Remove Medicine Cabinets - 170 Each
Remove Bath Accessories - 170 Each
Remove Soap Dish & Toothbrush Holder Only - 36 Units
Remove Existing Ranges - 193 Each
Remove & Salvage Ranges - 14 Each
Remove Existing Range Hoods (Ducted) - 171 Each
Remove Existing Refrigerators - 207 Each
Remove Existing Window Blinds - 170 Units
Dumpsters
Floor Prep
Common Areas
Remove Cabinets & Countertops - 4 Locations
Remove Existing Base (Vinyl or Wood W/ Qtr. Round) - 6,965 LF
Remove Door Slabs - 18 Each
Remove Door Frames - 11 Each
Remove LVT Flooring - 2,344 SF
Remove Tile Flooring - 3,372 SF
Remove Existing Acoustical Ceiling Tile & Grid - 7,896 SF
Remove Bath Accessories - 4 Bathrooms
Remove Toilet Partitions - 3 Stalls, 1 Screen
Remove Tactile Signs (Unit Entry & Common Area Room Signage) - 318 Each
Remove Common Area Window Coverings
Remove Exterior Satellite Dishes
Sawcut/Remove Conc. Balcony Railings For Temp Elevator - 12 Each
Remove & Salvage Sliding Glass Balcony Doors For Temp Elevator - 12 Each
Dumpsters
Floor Prep
Venson Tower
Remove Window Sills - 83 Each
Remove Kitchen Cabinets & Countertops - 91 Each
Remove Bath Vanities & Countertops - 4 Each
Remove Existing Base (Vinyl or Wood W/ Qtr. Round) - 14,336 LF
Remove 3070 Hollow Metal Unit Entry Door Slabs - 51 Each
Remove 3068 Unit Interior Door Slabs - 30 Each
Remove & Salvage 3068 Unit Bathroom Doors (For Bathroom Renovations) - 87 Each
Remove Patio Door Sliding Screen Doors - 215 Pair
Remove LVT Flooring - 10,496 SF
Remove Existing Vinyl Bifold Closet Doors That Still Exist
Remove & Salvage Firestop Range Extinguishers - 203 Pair
Remove Medicine Cabinets - 94 Each
Remove Bath Accessories - 92 Each
Remove Soap Dish & Toothbrush Holder Only - 123 Units
Remove Existing Ranges - 88 Each
Remove & Salvage Ranges - 128 Each
Remove Existing Range Hoods (Ducted) - 97 Each
Remove Existing Refrigerators - 217 Each
Remove Existing Window Blinds - 93 Units
Dumpsters
Floor Prep
Common Areas
Remove Cabinets & Countertops - 6 Locations
Remove Existing Base (Vinyl or Wood W/ Qtr. Round) - 6,868 LF
Remove Door Slabs - 18 Each
Remove Door Frames - 10 Each
Remove LVT Flooring - 1,323 SF
Remove Tile Flooring - 3,078 SF
Remove Existing Acoustical Ceiling Tile & Grid - 5,719 SF
Remove Bath Accessories - 5 Bathrooms
Remove Tactile Signs (Unit Entry & Common Area Room Signage) - 311 Each
Remove Common Area Window Coverings
Remove Exterior Satellite Dishes
Sawcut/Remove Concrete Balcony Railing - 14 LF
Remove Existing Balcony Railings (Salvage For Reinstallation) - 9 Locations (14 LF Each)
Remove & Salvage Exterior Sliding Glass Doors For Temp Elevator - 10 Each
Dumpsters
Floor Prep
Asbestos Abatement | Barry Tower
Units
Spot Removal of VCT/Mastic Abatement Where Detached
ACM Drywall Abatement At Replaced Tub/Showers - 6 Each
ACM Drywall Spot Abatement (Refer To Drywall Scopes) - 55 Units
Work Around All Items Scheduled To Remain
Common Areas
Spot Removal of VCT/Mastic Abatement Where Detached
ACM Drywall Abatement Allowance of Any Damaged Areas (GC Carried Allowance)
Work Around All Items Scheduled To Remain
Jefferson Tower
Units
Bathroom Drywall Wall Abatement (Incl. Removal Of Wall Tile) - 31,184 SF
Ceiling Texture Abatement Spot Removal Allowance (For Detached Areas Only) - 146 Units
Spot Removal of VCT/Mastic Abatement Where Detached
Remove Existing Bathroom Floor Tile - 3,915 SF
Remove Tile Tub Surrounds - 10 Each
Remove Steel Tubs - 10 Each
Remove Tile Shower Bases/Curb/Built Seats/Mud Bed/Tiled Surrounds - 136 Each
ACM Drywall Spot Abatement (Refer To Drywall Scopes) - 146 Units (Same Units As Other Work)
Work Around All Items Scheduled To Remain
Common Areas
Spot Removal of VCT/Mastic Abatement Where Detached
Ceiling Texture Abatement Spot Removal Allowance (For Detached Areas Only)
Remove Drywall/Wall Tile At Public Restrooms (7 Restrooms) - 2,187 SF
ACM Drywall Abatement Allowance of Any Damaged Areas (GC Carried Allowance)
Work Around All Items Scheduled To Remain
Borda Tower
Bathroom Drywall Wall Abatement - 35,088 SF
Bathroom Drywall Ceiling Abatement - 6,732 SF
Ceiling Texture Abatement - 78,725 SF
Spot Removal of VCT/Mastic Abatement Where Detached
Remove Existing Bathroom Floor Tile - 276 SF
Remove Fiberglass Walk In Showers & Surrounds - 170 Each
ACM Drywall Spot Abatement (Refer To Drywall Scopes) - 170 Units (Same Units As Other Work)
Work Around All Items Scheduled To Remain
Common Areas
Spot Removal of VCT/Mastic Abatement Where Detached
Ceiling Texture Abatement - 10,625 SF
Remove Drywall/Wall Tile At Public Restrooms (4 Restrooms) - 1,305 SF
ACM Drywall Abatement Allowance of Any Damaged Areas (GC Carried Allowance)
Work Around All Items Scheduled To Remain
Venson Tower
Bathroom Drywall Wall Abatement - 24,008 SF
Bathroom Drywall Ceiling Abatement - 4,328 SF
Ceiling Texture Abatement Spot Removal Allowance (For Detached Areas Only) - 93 Units
Spot Removal of VCT/Mastic Abatement Where Detached
Remove Existing Bathroom Floor Tile - 3,148 SF
Remove Tile Tub Surrounds - 6 Each
Remove Steel Tubs - 6 Each
Remove Tile Shower Bases/Curb/Built Seats/Mud Bed/Tiled Surrounds - 81 Each
ACM Drywall Spot Abatement (Refer To Drywall Scopes) - 93 Units (Same Units As Other Work)
Work Around All Items Scheduled To Remain
Common Areas
Spot Removal of VCT/Mastic Abatement Where Detached
Ceiling Texture Abatement Spot Removal Allowance (For Detached Areas Only)
Remove Tile Shower Bases/Curb/Built Seats/Mud Bed/Tiled Surrounds - 1 Each
Remove Drywall/Wall Tile At Public Restrooms (3 Restrooms) - 765 SF
ACM Drywall Abatement Allowance of Any Damaged Areas (GC Carried Allowance)
Work Around All Items Scheduled To Remain
Equipment/Space Rental | Barry Tower
Forklift Rental For Offloading Of Materials
Warehouse Rental For Material Storage
Jefferson Tower
Forklift Rental For Offloading Of Materials
Warehouse Rental For Material Storage
Borda Tower
Forklift Rental For Offloading Of Materials
Warehouse Rental For Material Storage
Venson Tower
Forklift Rental For Offloading Of Materials
Warehouse Rental For Material Storage
Temporary Fencing | Barry Tower
Freight Elevator Landing Temporary Fencing (13 Month Duration, Relocated From Jefferson - 150 LF
Temporary Fencing (13 Month Duration, Relocated From Jefferson) - 800 LF
Jefferson Tower
Freight Elevator Landing Temporary Fencing (13 Month Duration, Relocate To Barry) - 150 LF
Temporary Fencing (13 Month Duration, Relocate To Barry) - 800 LF
Borda Tower
Freight Elevator Landing Temporary Fencing (13 Month Duration, Relocate From Venson) - 150 LF
Temporary Fencing (13 Month Duration, Relocate From Venson) - 800 LF
Venson Tower
Freight Elevator Landing Temporary Fencing (13 Month Duration, Relocate To Borda) - 150 LF
Temporary Fencing (13 Month Duration, Relocate To Borda) - 800 LF
Power Washing | Jefferson Tower
Power Wash Exterior Areas To Remove Stains & Mineral Deposits - 204 Each
Borda Tower
Power Wash Exterior Patio Areas To Remove Stains & Mineral Deposits - 206 Each
Venson Tower
Power Wash Patio Areas To Remove Stains & Mineral Deposits - 210 Each
Asphalt Paving | Borda Tower
Asphalt Overlay of Existing Parking Lot - 1,743 SY
Milling as Required
Remove/Reinstall Parking Bumpers
Venson Tower
Asphalt Overlay of Existing Parking Lot - 3,081 SY
Milling as Required
Remove/Reinstall Parking Bumpers
Pavement Markings | Barry Tower
Seal & Restripe Existing Parking Lot
Jefferson Tower
Stripe New Overlayed Asphalt Parking Lot
Borda Tower
Stripe New Overlayed Rear Asphalt Parking Lot
Seal & Restripe Of Existing Front Concrete Parking Lot
Venson Tower
Seal & Restripe Of Existing Parking Lot
Handicap Parking Signs | Barry Tower
Remove/Replace Handicap Parking Signs - 2 Each
Jefferson Tower
Remove/Replace Handicap Parking Signs - 6 Each
Venson Tower
Remove/Replace Handicap Parking Signs - 6 Each
Landscaping | Barry Tower
Landscape Restoration & Enhancement Allowance (GC Carried Allowance)
Jefferson Tower
Landscape Restoration & Enhancement Allowance (GC Carried Allowance)
Borda Tower
Landscape Restoration & Enhancement Allowance (GC Carried Allowance)
Install Sod On Existing Areas Without Groundcover
Venson Tower
Landscape Restoration & Enhancement Allowance (GC Carried Allowance)
Irrigation | Barry Tower
Irrigation System Abandonment Allowance (GC Carried Allowance)
Jefferson Tower
Irrigation System Abandonment Allowance (GC Carried Allowance)
Borda Tower
Irrigation System Abandonment Allowance (GC Carried Allowance)
Venson Tower
Irrigation System Abandonment Allowance (GC Carried Allowance)

## Div. 3
Job Name: Memphis Towers
Division 3: Concrete
Subdivisions | Project Related Scope / Notes
Concrete | Barry Tower
Site Concrete Repairs - 1,500 SF Allowance (GC Carried Allowance)
Jefferson Tower
Site Concrete Repairs - 1,500 SF Allowance (GC Carried Allowance)
Borda Tower
Site Concrete Repairs - 1,500 SF Allowance (GC Carried Allowance)
Venson Tower
Site Concrete Repairs - 1,500 SF Allowance (GC Carried Allowance)
Concrete Elevated Balcony Railing Replacement - 14 LF

## Div. 4
Job Name: Memphis Towers
Division 4: Masonry
Subdivisions | Project Related Scope / Notes
Masonry | Barry Tower
Tuckpointing Allowance - 100 SF (GC Carried Allowance)
Brick Patching From Temp Elevator Attachment - 2 Locations
Jefferson Tower
Tuckpointing Allowance - 100 SF (GC Carried Allowance)
Venson Tower
Tuckpointing Allowance - 100 SF (GC Carried Allowance)

## Div. 5
Job Name: Memphis Towers
Division 5: Metals
Subdivisions | Project Related Scope / Notes
Misc. Metals | Barry Tower
4' Steel Angle For Temp Elevator Landings - 13 Each
Jefferson Tower
4' Steel Angle For Temp Elevator Landings - 12 Each
Steel/Chain Link Gates For Temp Elevator Landings - 12 Each
Weld Plates/Reinstall Concrete Balcony Railings For Temp Elevator Landings - 12 Each
Remove Existing Temp Elevator Gates & Steel Angle - 12 Each
Borda Tower
4' Steel Angle For Temp Elevator Landings - 12 Each
Steel/Chain Link Gates For Temp Elevator Landings - 12 Each
Weld Plates/Reinstall Concrete Balcony Railings For Temp Elevator Landings - 12 Each
Remove Existing Temp Elevator Gates & Steel Angle - 12 Each
Venson Tower
4' Steel Angle For Temp Elevator Landings - 9 Each
Steel/Chain Link Gates For Temp Elevator Landings - 9 Each
Metal Stud Framing Repairs | Jefferson Tower
Metal Stud Repair Allowance At Gutted Bathrooms (GC Carried Allowance) - 153 Each
Borda Tower
Metal Stud Repair Allowance At Gutted Bathrooms (GC Carried Allowance) - 174 Each
Venson Tower
Metal Stud Repair Allowance At Gutted Bathrooms (GC Carried Allowance) - 90 Each

## Div. 6
Job Name: Memphis Towers
Division 6: Woods & Plastics
Subdivisions | Project Related Scope / Notes
Millwork | Barry Tower
Units
Unit Type A Kitchen Cabinets & Countertops - 24 Each
Unit Type D Kitchen Cabinets & Countertops - 28 Each
Unit 24" Bath Vanities & Countertops - 8 Each
Add Finger Pulls To Existing Kitchen Cabinets Scheduled To Remain - 145 Units
Add Finger Pulls To Existing Bath Vanities Scheduled To Remain - 3 Each
Cabinet Spec - Mid America Mesa Boxes, Sierra Doors
Countertop Spec - PLAM 7732 Butterum Granite
Kitchen Cabinet Repair Allowance At 2019 Insurance Units (GC Carried Allowance) - 88 Units
Finger Pulls On All New Kitchen Cabinets/Bath Vanities
Field Measuring
Common Areas
Recreation 132 Cabinets & Countertops
Cabinet Hardware
Finger Pulls On All New Kitchen Cabinets/Bath Vanities
Field Measuring
Jefferson Tower
Units
Unit Type A Kitchen Cabinets & Countertops - 88 Each
Unit Type B Kitchen Cabinets & Countertops - 10 Each
Unit Type D Kitchen Cabinets & Countertops - 6 Each
Unit Type G Kitchen Cabinets & Countertops - 32 Each
Unit Type H Kitchen Cabinets & Countertops - 10 Each
Add Finger Pulls To Existing Kitchen Cabinets Scheduled To Remain - 62 Units
Add Finger Pulls To Existing Bath Vanities Scheduled To Remain - 4 Each
Cabinet Spec - Mid America Mesa Boxes, Sierra Doors
Countertop Spec - PLAM 7732 Butterum Granite
Finger Pulls On All New Kitchen Cabinets/Bath Vanities
Field Measuring
Common Areas
Kitchen Cabinets & Countertops
Recreation Cabinets & Countertops
Lab Cabinets & Countertops
Dr. Office Cabinets & Countertops
Ceramics Cabinets & Countertops
Finger Pulls On All New Kitchen Cabinets/Bath Vanities
Field Measuring
Borda Tower
Units
Unit Type A Kitchen Cabinets & Countertops - 100 Each
Unit Type C Kitchen Cabinets & Countertops - 6 Each
Unit Type D Kitchen Cabinets & Countertops - 20 Each
Unit Type G Kitchen Cabinets & Countertops - 43 Each
Unit 24" Bath Vanities & Countertops - 164 Each
Add Finger Pulls To Existing Kitchen Cabinets Scheduled To Remain - 37 Each
Add Finger Pulls To Existing Bath Vanities Scheduled To Remain - 33 Each
Cabinet Spec - Mid America Mesa Boxes, Sierra Doors
Countertop Spec - PLAM 7732 Butterum Granite
Finger Pulls On All New Kitchen Cabinets/Bath Vanities
Field Measuring
Common Areas
Office Cabinets & Countertops
Lab Cabinets & Countertops
Kitchen Cabinets & Countertops
Laundry Cabinets & Countertops
Finger Pulls On All New Kitchen Cabinets/Bath Vanities
Field Measuring
Venson Tower
Units
Unit Type A Kitchen Cabinets & Countertops - 45 Each
Unit Type B Kitchen Cabinets & Countertops - 6 Each
Unit Type C Kitchen Cabinets & Countertops - 24 Each
Unit Type F Kitchen Cabinets & Countertops - 16 Each
Unit 24" Bath Vanities & Countertops - 4 Each
Add Finger Pulls To Existing Kitchen Cabinets Scheduled To Remain - 124 Each
Cabinet Spec - Mid America Mesa Boxes, Sierra Doors
Countertop Spec - PLAM 7732 Butterum Granite
Kitchen Cabinet Repair Allowance At 2019 Insurance Units (GC Carried Allowance) - 85 Units
Finger Pulls On All New Kitchen Cabinets/Bath Vanities
Field Measuring
Common Areas
Kitchen Cabinets & Countertops
Waiting Countertop
Lab Cabinets & Countertops
Exam 2 Cabinets & Countertops
General Office Cabinets & Countertops
Restroom Cabinets & Countertops
Finger Pulls On All New Kitchen Cabinets/Bath Vanities
Field Measuring
Finish Carp. Material | Barry Tower
Units
4-1/4" Primed PVC Base (5/8"x4-1/4" PVC Base, 4-1/4" Version of 7527) - 9,090 LF (Incl. 10% Waste)
1/2" Composite Primed Quarter Round - 9,090 LF (Incl. 10% Waste)
6" Wood Window Sills - 1,502 LF (Incl. 10% Waste)
2-1/4" Wood Window Sill Apron - 1,502 LF (Incl. 10% Waste)
Common Areas
4-1/4" Primed PVC Base (5/8"x4-1/4" PVC Base, 4-1/4" Version of 7527) - 2,436 LF (Incl. 10% Waste)
1/2" Composite Primed Quarter Round - 8,810 LF (Incl. 10% Waste)
Jefferson Tower
Units
4-1/4" Primed PVC Base (5/8"x4-1/4" PVC Base, 4-1/4" Version of 7527) - 28,518 LF (Incl. 10% Waste)
1/2" Composite Primed Quarter Round - 28,518 LF (Incl. 10% Waste)
6" Wood Window Sills - 2,364 LF (Incl. 10% Waste)
2-1/4" Wood Window Sill Apron - 2,364 LF (Incl. 10% Waste)
Common Areas
4-1/4" Primed PVC Base (5/8"x4-1/4" PVC Base, 4-1/4" Version of 7527) - 324 LF (Incl. 10% Waste)
1/2" Composite Primed Quarter Round - 324 LF (Incl. 10% Waste)
Borda Tower
Units
4-1/4" Primed PVC Base (5/8"x4-1/4" PVC Base, 4-1/4" Version of 7527) - 37,436 LF (Incl. 10% Waste)
1/2" Composite Primed Quarter Round - 37,436 LF (Incl. 10% Waste)
Common Areas
4-1/4" Primed PVC Base (5/8"x4-1/4" PVC Base, 4-1/4" Version of 7527) - 2,534 LF (Incl. 10% Waste)
1/2" Composite Primed Quarter Round - 7,662 LF (Incl. 10% Waste)
Venson Tower
Units
4-1/4" Primed PVC Base (5/8"x4-1/4" PVC Base, 4-1/4" Version of 7527) - 15,770 LF (Incl. 10% Waste)
1/2" Composite Primed Quarter Round - 15,770 LF (Incl. 10% Waste)
6" Wood Window Sills - 458 LF (Incl. 10% Waste)
2-1/4" Wood Window Sill Apron - 458 LF (Incl. 10% Waste)
Common Areas
4-1/4" Primed PVC Base (5/8"x4-1/4" PVC Base, 4-1/4" Version of 7527) - 1,160 LF (Incl. 10% Waste)
1/2" Composite Primed Quarter Round - 7,556 LF (Incl. 10% Waste)
Finish Carp. Labor | Barry Tower
Units
Install 4-1/4" Primed Wood Base - 8,263 LF
Install Primed Quarter Round - 8,263 LF
Install Window Sills & Apron - 195 Each
Base/Quarter Round Repair Allowance Per Unit (GC Carried Allowance) - 88 Units
Install 3070 Hollow Metal Unit Entry Door Slabs On Existing Frames - 35 Each
Install 3068 Sold Core Flush Unit Interior Door Slabs On Existing Frames - 26 Each
Remove/Install Unit Entry Door Hardware - 197 Sets
Install Unit Interior Door Hardware - 93 Sets
Install Bath Accessories (See Div. 10 Takeoffs)
Shower Grab Bars Installed In Tile
Install Medicine Cabinets - 59 Each
Install Mirrors - 59 Each
Install Under Cabinet Fire Extinguishers - 197 Each
Install Firestop Range Extinguishers - 93 Pair
Offloading & Stocking Of All Installed Materials
Common Areas
Install 4-1/4" Primed Wood Base - 2,214 LF
Install Primed Quarter Round - 8,008 LF
Install Wood/HM Door Slabs - 15 Each
Install HM Door Frames - 4 Each
Remove/Replace 6070 Exterior Double Door - 1 Each
Remove/Install Door Hardware On All Existing Doors - 122 Sets
Install Unit Entry Tactile Signage - 197 Each
Install Common Area Room Tactile Signage - 108 Each
Install Bath Accessories (See Div. 10 Takeoffs)
Install Steel Angle/Door Bucks/3068 Doors/Hardware For Temp Elev. Access - 13 Each
Offloading & Stocking Of All Installed Materials
Jefferson Tower
Units
Install 4-1/4" Primed Wood Base - 25,924 LF
Install Primed Quarter Round - 25,924 LF
Install Window Sills & Apron - 216 Each
Install 3080 Solid Core Wood Unit Entry Door Slabs On Existing Frames - 59 Each
Install 3068 Sold Core Flush Unit Interior Door Slabs On Existing Frames - 118 Each
Install 3068 Bathroom Door Slabs (Removed & Salvaged For Bathroom Renovations) - 146 Each
Remove/Install Unit Entry Door Hardware - 208 Sets
Remove/Install Unit Patio Door Hardware - 208 Sets
Install Unit Interior Door Hardware - 730 Each
Install Bath Accessories (See Div. 10 Takeoffs)
Shower Grab Bars Installed In Tile
Install Medicine Cabinets - 146 Each
Install Mirrors - 7 Each
Install Under Cabinet Fire Extinguishers - 208 Each
Install Firestop Range Extinguishers - 146 Pair
Offloading & Stocking Of All Installed Materials
Common Areas
Install 4-1/4" Primed Wood Base - 293 LF
Install Primed Quarter Round - 293 LF
Install Wood/HM Door Slabs - 62 Each
Install HM Door Frames - 21 Each
Remove/Install Door Hardware On All Existing Doors - 127 Sets
Install Bath Accessories (See Div. 10 Takeoffs)
Install Unit Entry Tactile Signage - 208 Each
Install Common Area Room Tactile Signage - 134 Each
Install Toilet Partitions - 2 Stalls, 1 Screen
Reinstall Existing Storm Doors At Freight Elevator Landings - 12 Each
Offloading & Stocking Of All Installed Materials
Borda Tower
Units
Install 4-1/4" Primed Wood Base - 34,032 LF
Install Primed Quarter Round - 34,032 LF
Install 3070 Solid Core Wood Unit Entry Door Slabs On Existing Frames - 95 Each
Install 3068 Sold Core Flush Unit Interior Door Slabs On Existing Frames - 78 Each
Install 3068 Bathroom Door Slabs (Removed & Salvaged For Bathroom Renovations) - 6 Each
Remove/Install Unit Entry Door Hardware - 206 Sets
Install Unit Interior Door Hardware - 252 Sets
Install Bath Accessories (See Div. 10 Takeoffs)
Shower Grab Bars Installed In Tile
Install Medicine Cabinets - 170 Each
Install Mirrors - 4 Each
Install Under Cabinet Fire Extinguishers - 206 Each
Install Firestop Range Extinguishers - 170 Pair
Offloading & Stocking Of All Installed Materials
Common Areas
Install 4-1/4" Primed Wood Base - 2,303 LF
Install Primed Quarter Round - 6,965 LF
Install Wood/HM Door Slabs - 18 Each
Install HM Door Frames - 11 Each
Remove/Install Door Hardware On All Existing Doors - 101 Sets
Install Bath Accessories (See Div. 10 Takeoffs)
Install Unit Entry Tactile Signage - 206 Each
Install Common Area Room Tactile Signage - 112 Each
Install Toilet Partitions - 3 Stalls, 1 Screen
Offloading & Stocking Of All Installed Materials
Venson Tower
Units
Install 4-1/4" Primed Wood Base - 14,336 LF
Install Primed Quarter Round - 14,336 LF
Install Window Sills & Apron - 83 Each
Base/Quarter Round Repair Allowance Per Unit (GC Carried Allowance) - 98 Units
Install 3070 Hollow Metal Unit Entry Door Slabs On Existing Frames - 51 Each
Install 3068 Sold Core Flush Unit Interior Door Slabs On Existing Frames - 30 Each
Install 3068 Bathroom Door Slabs (Removed & Salvaged For Bathroom Renovations) - 87 Each
Remove/Install Unit Entry Door Hardware - 215 Sets
Install Unit Interior Door Hardware - 132 Sets
Install Bath Accessories (See Div. 10 Takeoffs)
Shower Grab Bars Installed In Tile
Install Medicine Cabinets - 94 Each
Install Mirrors - 5 Each
Install Under Cabinet Fire Extinguishers - 215 Each
Install Firestop Range Extinguishers - 98 Pair
Offloading & Stocking Of All Installed Materials
Common Areas
Install 4-1/4" Primed Wood Base - 1,053 LF
Install Primed Quarter Round - 6,868 LF
Install Wood/HM Door Slabs - 18 Each
Install HM Door Frames - 10 Each
Remove/Replace 3070 Exterior Hollow Metal Doors & Frames - 4 Each
Remove/Install Door Hardware On All Existing Doors - 90 Sets
Install Bath Accessories (See Div. 10 Takeoffs)
Install Unit Entry Tactile Signage - 215 Each
Install Common Area Room Tactile Signage - 96 Each
Remove Temp Wood Walls For Temp Elevator - 10 Each (14 LF Each)
Remove Temp Wood Walls For Ext. Sliding Doors - 10 Each
Remove Temp Gates At Elevator Landings - 10 Each
Reinstall Removed Metal Balcony Railings At Temp Elevator - 9 Each (14 LF Each)
Offloading & Stocking Of All Installed Materials
Solid Suf. Tub Surr. | Barry Tower
Solid Surface Tub Surrounds - 54 Each
Spec - Foremost JET COAT Shower Wall System (Black Slate Tile Patterned)
Caulking of Surrounds
Borda Tower
Solid Surface Tub Surrounds - 170 Each
Spec - Foremost JET COAT Shower Wall System (Black Slate Tile Patterned)
Caulking of Surrounds
Rough Carpentry | Jefferson Tower
Bathroom In Wall Blocking (Shower Edges, Mirrors, Grab Bars, Bath Acc., Etc.) - 146 Bathrooms
Borda Tower
Bathroom In Wall Blocking (Shower Edges, Mirrors, Grab Bars, Bath Acc., Etc.) - 170 Bathrooms
Temp Wood Walls For Ext. Sliding Doors - 12 Each
Temp Wood Doors & Hardware At Sliding Door Walls - 12 Each
Venson Tower
Bathroom In Wall Blocking (Shower Edges, Mirrors, Grab Bars, Bath Acc., Etc.) - 87 Bathrooms
Temp Elevator Temp Balcony Walls - 10 Each (14 LF Each)
Temp Wood Doors & Hardware At Temp Elevator Walls - 10 Each
Temp Wood Walls For Ext. Sliding Doors - 10 Each
Temp Wood Doors & Hardware At Sliding Door Walls - 10 Each
Closet Shelving | Barry Tower
Closet Shelving Repair Allowance (GC Carried Allowance) - 55 Units
Jefferson Tower
Closet Shelving Repair Allowance (GC Carried Allowance) - 146 Units
Borda Tower
Closet Shelving Repair Allowance (GC Carried Allowance) - 170 Units
Venson Tower
Closet Shelving Repair Allowance (GC Carried Allowance) - 93 Units

## Div. 7
Job Name: Memphis Towers
Division 7: Thermal & Moisture Protection
Subdivisions | Project Related Scope / Notes
Fire Caulking | Barry Tower
Fire Caulking Of Bathroom New Drywall At Chases - 6 Bathrooms
Jefferson Tower
Fire Caulking Of Bathroom New Drywall At Chases - 148 Bathrooms
Borda Tower
Fire Caulking Of Bathroom New Drywall At Chases - 172 Bathrooms
Venson Tower
Fire Caulking Of Bathroom New Drywall At Chases - 89 Bathrooms
EIFS | Barry Tower
EIFS Patching From Temp Elevator Attachment - 4 Locations
EIFS Cornice Replacement From Temp Elevator Attachment - 50 LF
Roofing | Barry Tower
Remove Existing Roof Membrane
Removal/Replacement of Existing Damaged Roof Insulation
New 3" Polyiso Rigid Roof Insulation - 13,938 SF
New TPO Roofing Membrane (Fully Adhered) - 13,938 SF
Walk Pads
Equipment To Stock Materials
Off-Site Disposal Of Removed Materials
Jefferson Tower
Remove Existing Roof Membrane
Removal/Replacement of Existing Damaged Roof Insulation
New 3" Polyiso Rigid Roof Insulation - 13,938 SF
New TPO Roofing Membrane (Fully Adhered) - 13,938 SF
Walk Pads
Equipment To Stock Materials
Off-Site Disposal Of Removed Materials
Borda Tower
Remove Existing Roof Membrane
Removal/Replacement of Existing Damaged Roof Insulation
New 3" Polyiso Rigid Roof Insulation - 13,938 SF
New TPO Roofing Membrane (Fully Adhered) - 13,938 SF
Walk Pads
Equipment To Stock Materials
Off-Site Disposal Of Removed Materials
Venson Tower
Remove Existing Roof Membrane
Removal/Replacement of Existing Damaged Roof Insulation
New 3" Polyiso Rigid Roof Insulation - 13,938 SF
New TPO Roofing Membrane (Fully Adhered) - 13,938 SF
Walk Pads
Equipment To Stock Materials
Off-Site Disposal Of Removed Materials
Fiber Cement Siding | Venson Tower
Remove Existing Failing Exterior Sheet Metal Cap - 230 LF
8" Fiber Cement Trim At Underside of First Floor Rear Balcony Decks - 230 LF
Caulking Of Fiber Cement Trim
Insulation | Jefferson Tower
R19 Batt Insulation At Gutted Bathroom Chase Wall - 10,404 SF
Borda Tower
R19 Batt Insulation At Gutted Bathroom Chase & Corridor Wall - 19,488 SF
Venson Tower
R19 Batt Insulation At Gutted Bathroom Chase & Corridor Wall - 10,080 SF

## Div. 8
Job Name: Memphis Towers
Division 8: Openings
Subdivisions | Project Related Scope / Notes
Doors & Frames | Barry Tower
Units
3070 Hollow Metal Unit Entry Door Slabs (Fire Rated) - 35 Each
3068 Solid Core Flush Unit Interior Door Slabs - 26 Each
Allowance For Repairs To Unit Doors/Frames To Remain (GC Carried Allowance)
Common Areas
3070 Hollow Metal or Wood Door Slabs - 15 Each
3070 Hollow Metal Door Frames - 4 Each
3068 Steel Door With Wood Frame For Freight Elevator Access - 13 Each
6070 Double Hollow Metal Door & Frame (Exterior) - 1 Each
Allowance For Repairs To Common Area Doors/Frames To Remain (GC Carried Allowance)
Jefferson Tower
Units
3080 Solid Core Wood Unit Entry Door Slabs (Fire Rated) - 59 Each
3068 Solid Core Flush Unit Interior Door Slabs - 118 Each
Allowance For Repairs To Unit Doors/Frames To Remain (GC Carried Allowance)
Common Areas
3070 Hollow Metal or Wood Door Slabs - 62 Each
3070 Hollow Metal Door Frames - 21 Each
Allowance For Repairs To Common Area Doors/Frames To Remain (GC Carried Allowance)
Borda Tower
Units
3070 Solid Core Wood Unit Entry Door Slabs (Fire Rated) - 95 Each
3068 Solid Core Flush Unit Interior Door Slabs - 78 Each
Allowance For Repairs To Unit Doors/Frames To Remain (GC Carried Allowance)
Common Areas
3070 Hollow Metal or Wood Door Slabs - 18 Each
3070 Hollow Metal Door Frames - 11 Each
Allowance For Repairs To Common Area Doors/Frames To Remain (GC Carried Allowance)
Venson Tower
Units
3070 Hollow Metal Unit Entry Door Slabs (Fire Rated) - 51 Each
3068 Solid Core Flush Unit Interior Door Slabs - 30 Each
Allowance For Repairs To Unit Doors/Frames To Remain (GC Carried Allowance)
Common Areas
3070 Hollow Metal or Wood Door Slabs - 18 Each
3070 Hollow Metal Door Frames - 10 Each
3070 Hollow Metal Exterior Doors & Frames - 4 Each
Allowance For Repairs To Common Area Doors/Frames To Remain (GC Carried Allowance)
Door Hardware | Barry Tower
Units
Unit Entry Door Hardware (Peephole, Lever Handle, Deadbolt, Hinges) - 197 Sets
Unit Entry Door Hinge Replacement Allowance (GC Carried Allowance)
Unit Entry Door Additional Peephole (ADA Units) - 10 Each
Interior Door Privacy Sets (Lockset, Door Stop, Hinges) - 93 Sets
Interior Door Hinge Replacement Allowance (GC Carried Allowance)
Interior Unit Door Hardware To Be Cal-Royal Sophia Style Grade 3 Satin Chrome
Common Areas
Interior Door Hardware Sets - 89 Sets
Interior Double Door Hardware Sets - 2 Sets
Interior Bifold Door Hardware Sets - 2 Sets
Interior Stair Door Hardware Sets - 28 Sets
Exterior Double Door Hardware - 1 Sets
Temporary Locksets/Deadbolts For Temp Elevator Doors - 13 Each
Door Hinge Replacement Allowance (GC Carried Allowance)
Jefferson Tower
Units
Unit Entry Door Hardware (Peepole, Lever Handle, Deadbolt, Hinges) - 208 Sets
Unit Entry Door Hinge Replacement Allowance (GC Carried Allowance)
Unit Entry Door Additional Peephole (ADA Units) - 10 Each
Unit Patio Door Hardware (Lever Lockset) - 208 Sets
Interior Door Privacy Sets (Lockset, Door Stop, Hinges) - 194 Sets
Interior Door Passage Sets (Lockset, Door Stop, Hinges) - 536 Sets
Interior Door Hinge Replacement Allowance (GC Carried Allowance)
Interior Unit Door Hardware To Be Cal-Royal Sophia Style Grade 3 Satin Chrome
Common Areas
Interior Door Hardware Sets - 82 Sets
Interior Double Door Hardware Sets - 1 Set
Interior Stair Door Hardware Sets - 27 Sets
Exterior Single Door Hardware - 15 Sets
Exterior Double Door Hardware - 2 Sets
Door Hinge Replacement Allowance (GC Carried Allowance)
Borda Tower
Units
Unit Entry Door Hardware (Peephole, Lever Handle, Deadbolt, Hinges) - 206 Sets
Unit Entry Door Hinge Replacement Allowance (GC Carried Allowance)
Unit Entry Door Additional Peephole (ADA Units) - 10 Each
Interior Door Privacy Sets (Lockset, Door Stop, Hinges) - 234 Sets
Interior Door Passage Sets (Lockset, Door Stop, Hinges) - 12 Sets
Interior Double Door Sets (Dummy Knobs, Ball Catches) - 6 Sets
Interior Door Hinge Replacement Allowance (GC Carried Allowance)
Interior Unit Door Hardware To Be Cal-Royal Sophia Style Grade 3 Satin Chrome
Common Areas
Interior Door Hardware Sets - 53 Sets
Interior Double Door Hardware Sets - 3 Sets
Interior Stair Door Hardware Sets - 26 Sets
Interior Bifold Door Hardware Sets - 4 Sets
Exterior Single Door Hardware - 15 Sets
Door Hinge Replacement Allowance (GC Carried Allowance)
Venson Tower
Units
Unit Entry Door Hardware (Peephole, Lever Handle, Deadbolt, Hinges) - 215 Sets
Unit Entry Door Hinge Replacement Allowance (GC Carried Allowance)
Unit Entry Door Additional Peephole (ADA Units) - 11 Each
Interior Door Privacy Sets (Lockset, Door Stop, Hinges) - 132 Sets
Interior Door Hinge Replacement Allowance (GC Carried Allowance)
Interior Unit Door Hardware To Be Cal-Royal Sophia Style Grade 3 Satin Chrome
Common Areas
Interior Door Hardware Sets - 61 Sets
Interior Double Door Hardware Sets - 3 Sets
Interior Stair Door Hardware Sets - 22 Sets
Exterior Single Door Hardware - 4 Sets
Door Hinge Replacement Allowance (GC Carried Allowance)
Storefront | Barry Tower
Remove/Replace 3'x7' Fixed Windows - 221 Each
Remove/Replace 6'x4' Twin Sliding Windows - 195 Each
Remove 3070 Temp Elevator Doors/Wood Bucks/Angle From Window Opgs. - 13 Each
Caulking Interior/Exterior
Clean Exterior Of Windows After Installation
Dumpsters/Off-Site Disposal Of Removed Windows
Field Measuring
Tempered Glass Where Required
Low-E Glazing, U Value 0.35 Or Less, SHGC of 0.30 Or Less, 10 Year Vapor Seal Warr.
Any Interior Drywall Repairs?
Jefferson Tower
Remove/Replace Existing Twin 7'6"x4'6" Fixed Aluminum Windows - 12 Each
Remove/Replace Existing 9'4"x4'6" Triple Aluminum Windows - 204 Each
Each Side Of Above Triple Windows Are Single Hung, Center Window Fixed
Caulking Interior/Exterior
Clean Exterior Of Windows After Installation
Dumpsters/Off-Site Disposal Of Removed Windows
Field Measuring
Tempered Glass Where Required
Low-E Glazing, U Value 0.35 Or Less, SHGC of 0.30 Or Less, 10 Year Vapor Seal Warr.
Any Interior Drywall Repairs?
Borda Tower
Remove/Replace ADA Unit 3070 Swing Patio Doors W/ 3' Wide Sidelites - 10 Each
Aluminum Door Hardware
Remove Temp Wood Walls At Patio Door Temp Elevator Landings - 12 Each
Reinstall Exist. Sliding Glass Patio Doors At Temp Elevator - 12 Each
Caulking Interior/Exterior
Dumpsters/Off-Site Disposal Of Removed Windows
Field Measuring
Tempered Glass Where Required
Any Interior Drywall Repairs?
Venson Tower
Remove/Replace Existing 4'x2'4" Sliding Aluminum Windows - 83 Each
Reinstall Ext. Sliding Glass Patio Doors At Temp Elevator - 10 Each
Caulking Interior/Exterior
Clean Exterior Of Windows After Installation
Dumpsters/Off-Site Disposal Of Removed Windows
Field Measuring
Tempered Glass Where Required
Low-E Glazing, U Value 0.35 Or Less, SHGC of 0.30 Or Less, 10 Year Vapor Seal Warr.
Any Interior Drywall Repairs?
Screen Doors/Patio Doors | Jefferson Tower
Patio Storm Door Repair/Replacement Allowance (GC Carried Allowance)
Overhead Doors | Jefferson Tower
Remove/Replace 8'x8' Overhead Coiling Door - 1 Each
Borda Tower
Remove/Replace 12'x12' Overhead Coiling Door - 1 Each

## Div. 9
Job Name: Memphis Towers
Division 9: Finishes
Subdivisions | Project Related Scope / Notes
Drywall | Barry Tower
Units
Unit Drywall Repair/Patching (Minor Patching) - 142 Units
Unit Drywall Repair/Patching (Major Patching) - 0 Units
Unit Drywall Repair/Patching (Minimal Repairs) - 55 Units
Patching = General Damage/Base Removal Repairs/Cabinet & Top Removal Repairs/ Wall Mounted
Item Removal Repairs/ Wall Hung Sink Removal Repairs/ Shower Surround Removal Repairs/Etc.)
Drywall Soffit Patch Where Range Hood Duct Connected - 52 Each
Drywall Patch Where Existing Electric Heaters Removed - 142 Each
Drywall Replacement Where Tub/Showers Removed - 6 Each
Drywall Patch Where Living Room Light/Switch Added - 54 Each
Common Areas
Rooms With Minor Drywall Repair/Patching - 93 Each
Rooms With Major Drywall Repair/Patching - 0 Each
Rooms With No Drywall Repair/Patching - 69 Each
Drywall Patching Where Temp Elevator Doors Installed - 13 Each
Jefferson Tower
Units
Unit Drywall Repair/Patching (Minor Patching) - 137 Units
Unit Drywall Repair/Patching (Major Patching) - 9 Units
Unit Drywall Repair/Patching (Minimal Repairs) - 62 Units
5/8" MR Drywall Wall Replacement (Bathrooms) - 31,184 SF
Patching = General Damage/Base Removal Repairs/Cabinet & Top Removal Repairs/ Wall Mounted
Item Removal Repairs/ Wall Hung Sink Removal Repairs/ Shower Surround Removal Repairs/Etc.)
Drywall Soffit Patch Where Range Hood Duct Connected - 146 Each
Drywall Patch At PTAC Duct Extensions - 63 Each
Drywall Patching For New Horn/Strobe Devices & Lower Range Hood Switch At ADA Units - 6 Each
Common Areas
Rooms With Minor Drywall Repair/Patching - 76 Each
Rooms With Major Drywall Repair/Patching - 5 Each
Rooms With No Drywall Repair/Patching - 45 Each
Drywall/Tile Backer Replacement In Public Bathrooms (7 Bathrooms) - 2,200 SF
Borda Tower
Units
Unit Drywall Repair/Patching (Minor Patching) - 158 Units
Unit Drywall Repair/Patching (Major Patching) - 12 Units
Unit Drywall Repair/Patching (Minimal Repairs) - 36 Units
5/8" MR Drywall Wall Replacement (Bathrooms) - 35,088 SF
5/8" MR Drywall Ceiling Replacement (Bathrooms) - 6,732 SF
Concrete Ceiling Skim/New Texture - 78,725 SF
Patching = General Damage/Base Removal Repairs/Cabinet & Top Removal Repairs/ Wall Mounted
Item Removal Repairs/ Wall Hung Sink Removal Repairs/ Shower Surround Removal Repairs/Etc.)
Drywall Soffit Patch Where Range Hood Duct Connected - 171 Each
Drywall Patch At PTAC Duct Extensions - 74 Each
Drywall Patching For New Horn/Strobe Devices & Lower Range Hood Switch At ADA Units - 6 Each
Drywall Patch (Wall) Where Living Room Light/Switch Added - 170 Each
Drywall Patch (Wall) Where Bedroom Light/Switch Added - 64 Each
Common Areas
Rooms With Minor Drywall Repair/Patching - 62 Each
Rooms With Major Drywall Repair/Patching - 6 Each
Rooms With No Drywall Repair/Patching - 34 Each
Concrete Ceiling Skim/New Texture - 10,625 SF
Drywall/Tile Backer Replacement In Public Bathrooms (4 Bathrooms) - 1,305 SF
Venson Tower
Units
Unit Drywall Repair/Patching (Minor Patching) - 157 Units
Unit Drywall Repair/Patching (Major Patching) - 20 Units
Unit Drywall Repair/Patching (Minimal Repairs) - 38 Units
5/8" MR Drywall Wall Replacement (Bathrooms) - 24,008 SF
5/8" MR Drywall Ceiling Replacement (Bathrooms) - 4,328 SF
Patching = General Damage/Base Removal Repairs/Cabinet & Top Removal Repairs/ Wall Mounted
Item Removal Repairs/ Wall Hung Sink Removal Repairs/ Shower Surround Removal Repairs/Etc.)
Drywall Soffit Patch Where Range Hood Duct Connected - 92 Each
Drywall Patching For New Horn/Strobe Devices & Lower Range Hood Switch At ADA Units - 5 Each
Exterior Balcony Ceiling Texture Repair Allowance
Common Areas
Rooms With Minor Drywall Repair/Patching - 68 Each
Rooms With Major Drywall Repair/Patching - 4 Each
Rooms With No Drywall Repair/Patching - 28 Each
Drywall/Tile Backer Replacement In Public Bathrooms (3 Bathrooms) - 765 SF
Acoustical Ceilings | Barry Tower
Common Areas
2'x2' Acoustical Ceiling Tile & Grid - 3,069 SF
Jefferson Tower
Units
2'x2' Acoustical Ceiling Tile & Grid (Unit Bathrooms) - 6,072 SF
Common Areas
2'x2' Acoustical Ceiling Tile & Grid - 9,887 SF
Borda Tower
Common Areas
2'x2' Acoustical Ceiling Tile & Grid - 7,896 SF
Venson Tower
Common Areas
2'x2' Acoustical Ceiling Tile & Grid - 5,719 SF
Flooring | Barry Tower
Units
LVT Flooring (Prestwick Plank Southern Hickory) - 22,934 SF
Transition Strips From Unit Entry To Corridor (All ADA Compliant)
Floor Prep
Flooring Repair Allowance For 2019 Insurance Units (GC Carried Allowance)
Common Areas
LVT Flooring (Prestwick Plank Southern Hickory) - 19,425 SF
Tile Flooring - 3,047 SF
Transition Strips (All ADA Compliant)
Stripping of VCT Wax If Required For New LVT Installation
Floor Prep
Floor Tile Spec - Dal Tile GW09720HD1P2
Grout Spec - Laticrete #88 Silver Shadow
Jefferson Tower
Units
LVT Flooring (Prestwick Plank Southern Hickory) - 55,420 SF
Tile Flooring (Bathrooms) - 3,915 SF (146 Bathrooms)
Transition Strips From Unit Entry To Corridor (All ADA Compliant)
Transition Strips From Tiled Bathrooms To Unit LVT Flooring (All ADA Compliant) - 146 Each
Tiled Tub Surrounds - 10 Each
Tiled Shower Bases/Curb/Built Up Seats/Surrounds/Waterproofing - 136 Each
Metal Schluter Trim at Tiled Shower Surround Edges
Floor Prep
Wall/Floor Tile Spec - Dal Tile GW09720HD1P2
Shower Floor Tile Spec - Dal Tile GW0915HEXHD1P2
Grout Spec - Laticrete #88 Silver Shadow
Schulter Spec - Schulter Silver Bullnose
Common Areas
LVT Flooring (Prestwick Plank Southern Hickory) - 20,449 SF
Tile Flooring - 1,905 SF
Transition Strips (All ADA Compliant)
6" Vinyl Base - 7,287 LF
Public Restroom Wall Tile/Tile Base - 1,215 SF (7 Bathrooms)
Stripping of VCT Wax If Required For New LVT Installation
Floor Prep
Wall/Floor Tile Spec - Dal Tile GW09720HD1P2
Grout Spec - Laticrete #88 Silver Shadow
Borda Tower
Units
LVT Flooring (Prestwick Plank Southern Hickory) - 76,217 SF
Tile Flooring (ADA Bathrooms) - 276 SF (6 Bathrooms)
Transition Strips From Unit Entry To Corridor (All ADA Compliant)
Transition Strips From Tiled Bathrooms To Unit LVT Flooring (All ADA Compliant) - 6 Each
Floor Prep
Floor Tile Spec - Dal Tile GW09720HD1P2
Grout Spec - Laticrete #88 Silver Shadow
Common Areas
LVT Flooring (Prestwick Plank Southern Hickory) - 17,613 SF
Tile Flooring - 3,372 SF
Transition Strips (All ADA Compliant)
Public Restroom Wall Tile/Tile Base - 725 SF (4 Bathrooms)
Stripping of VCT Wax If Required For New LVT Installation
Floor Prep
Wall/Floor Tile Spec - Dal Tile GW09720HD1P2
Grout Spec - Laticrete #88 Silver Shadow
Venson Tower
Units
LVT Flooring (Prestwick Plank Southern Hickory) - 34,394 SF
Tile Flooring (Bathrooms) - 3,148 SF (87 Bathrooms)
Transition Strips From Unit Entry To Corridor (All ADA Compliant)
Transition Strips From Tiled Bathrooms To Unit LVT Flooring (All ADA Compliant) - 87 Each
Tiled Tub Surrounds - 6 Each
Tiled Shower Bases/Curb/Surrounds/Waterproofing - 81 Each
Metal Schluter Trim at Tiled Shower Surround Edges
Floor Prep
Wall/Floor Tile Spec - Dal Tile GW09720HD1P2
Shower Floor Tile Spec - Dal Tile GW0915HEXHD1P2
Grout Spec - Laticrete #88 Silver Shadow
Schulter Spec - Schulter Silver Bullnose
Flooring Repair Allowance For 2019 Insurance Units (GC Carried Allowance)
Common Areas
6" Vinyl Base (Upper Floor Corridors Around Columns Only) - 1,285 LF
LVT Flooring (Prestwick Plank Southern Hickory) - 20,706 SF
Tile Flooring - 3,078 SF
Transition Strips (All ADA Compliant)
Tiled Shower Bases/Curb/Surrounds/Waterproofing - 1 Each
Public Restroom Wall Tile/Tile Base - 425 SF (3 Bathrooms)
Stripping of VCT Wax If Required For New LVT Installation
Floor Prep
Floor Tile Spec - Dal Tile GW09720HD1P2
Shower Floor Tile Spec - Dal Tile GW0915HEXHD1P2
Grout Spec - Laticrete #88 Silver Shadow
Schulter Spec - Schulter Silver Bullnose
Painting | Barry Tower
Exterior
Repaint Existing Monument Sign - 1 Each
Repaint Exterior HM Double Doors & Frames - 1 Each
Repaint Exposed Steel At Existing Pavilion - 1 Each
Interior Units
Cleaning/Patching/Preparation Of All Surfaces To Be Repainted
Complete Interior Repaint Of Unit Interiors - 57,698 SF (Floor SF, 142 Units)
Repaint All Walls, Ceilings, Doors, Frames, Base/Qtr. Round, Wdw. Sills, Closet Shelving
Touch Up Paint Per Unit (Recently Renovated Units) - 55 Units
One Wall Color, One Ceiling Color, One Door/Trim Color
Eggshell Walls, Flat Ceilings, Semi Gloss Trim/Doors
Masking Of All Items Scheduled To Remain In Recently Renovated Units (See Matrix)
Interior Common Areas
Cleaning/Patching/Preparation Of All Surfaces To Be Repainted
Complete Repaint Of Common Areas (Walls/Ceilings/Doors/Frames/Trim) - 23,280 SF (Floor SF)
All Corridors Have Wood Wainscot (To Be Painted Different Color Than Walls, Semi-Gloss)
Repaint Existing Interior Stair Railings - 1,000 LF Allowance
Upper Floor Corridors Have Exposed Piping/Conduits To Work Around
Masking Of All Items Scheduled To Remain
Jefferson Tower
Exterior
Repaint Conc. Balcony Rail Sections For Temp Elevator - 12 Each (20 LF Each)
Repaint Existing Monument Sign - 2 Each
Repaint Exterior HM Doors & Frames - 4 Each
Repaint Exterior HM Double Doors & Frames - 2 Each
Repaint Brick Retaining Wall At Loading Dock
New Exterior Unit Balcony Deck Coating (Maperi Elastocolor Coat) - 13,714 SF (204 Balconies)
Repaint Exposed Steel At Existing Pavilion - 1 Each
Interior Units
Cleaning/Patching/Preparation Of All Surfaces To Be Repainted
Complete Interior Repaint Of Unit Interiors - 61,270 SF (Floor SF, 146 Units)
Repaint All Walls, Ceilings, Doors, Frames, Base/Qtr. Round, Wdw. Sills, Closet Shelving
Touch Up Paint Per Unit (Recently Renovated Units) - 62 Units
One Wall Color, One Ceiling Color, One Door/Trim Color
Eggshell Walls, Flat Ceilings, Semi Gloss Trim/Doors
Masking Of All Items Scheduled To Remain In Recently Renovated Units (See Matrix)
Interior Common Areas
Cleaning/Patching/Preparation Of All Surfaces To Be Repainted
Complete Repaint Of Common Areas (Walls/Ceilings/Doors/Frames/Trim) - 23,254 SF (Floor SF)
Upper Floor Corridor Walls Are CMU Walls
Upper Floor Corridors Have Exposed Piping/Conduits To Work Around
Masking Of All Items Scheduled To Remain
Borda Tower
Exterior
Repaint Conc. Balcony Rail Sections For Temp Elevator - 12 Each (20 LF Each)
Repaint Existing Monument Sign - 1 Each
Repaint Exterior HM Doors & Frames - 3 Each
Repaint Site Metal Railings At ADA Ramps/Stairs
New Exterior Unit Balcony Deck Coating (Maperi Elastocolor Coat) - 15,076 SF (206 Balconies)
Repaint Exposed Steel At Existing Pavilion - 1 Each
Interior Units
Cleaning/Patching/Preparation Of All Surfaces To Be Repainted
Complete Interior Repaint Of Unit Interiors - 78,689 SF (Floor SF, 170 Units)
Repaint All Walls, Ceilings, Doors, Frames, Base/Qtr. Round, Wdw. Sills, Closet Shelving
Touch Up Paint Per Unit (Recently Renovated Units) - 36 Units
One Wall Color, One Ceiling Color, One Door/Trim Color
Eggshell Walls, Flat Ceilings, Semi Gloss Trim/Doors
Masking Of All Items Scheduled To Remain In Recently Renovated Units (See Matrix)
Interior Common Areas
Cleaning/Patching/Preparation Of All Surfaces To Be Repainted
Complete Repaint Of Common Areas (Walls/Ceilings/Doors/Frames/Trim) - 21,824 SF (Floor SF)
Upper Floor Corridors Have Exposed Piping/Conduits To Work Around
Masking Of All Items Scheduled To Remain
Venson Tower
Exterior
Repaint Exterior Concrete Balcony Rail Section From Temp Elevator (Both Sides) - 48 LF
Repaint Existing Monument Sign - 1 Each
Repaint Exterior HM Doors & Frames - 4 Each
Strip Existing Paint On Aluminum Balcony Rail Portions That Are Currently Painted
Repaint ADA Ramp/Stair Railings
Paint Fiber Cement Trim Accents & Bands At Rear Of Building
New Exterior Unit Balcony Deck Coating (Maperi Elastocolor Coat) - 20,725 SF (215 Balconies)
Repaint Exposed Steel At Existing Pavilions - 2 Each
Interior Units
Cleaning/Patching/Preparation Of All Surfaces To Be Repainted
Complete Interior Repaint Of Unit Interiors - 73,092 SF (Floor SF, 177 Units)
Repaint All Walls, Ceilings, Doors, Frames, Base/Qtr. Round, Wdw. Sills, Closet Shelving
Touch Up Paint Per Unit (Recently Renovated Units) - 38 Units
One Wall Color, One Ceiling Color, One Door/Trim Color
Eggshell Walls, Flat Ceilings, Semi Gloss Trim/Doors
Masking Of All Items Scheduled To Remain In Recently Renovated Units (See Matrix)
Exterior Unit Balcony Touch Up Allowance Where Repairs Are Necessary
Interior Common Areas
Cleaning/Patching/Preparation Of All Surfaces To Be Repainted
Complete Repaint Of Common Areas (Walls/Ceilings/Doors/Frames/Trim) - 23,676 SF (Floor SF)
Repaint Existing Interior Stair Railings - 1,000 LF Allowance
Upper Floor Corridors Have Exposed Piping/Conduits To Work Around
Masking Of All Items Scheduled To Remain
Final Cleaning | Barry Tower
Final Cleaning - 116,688 SF
Cleaning Of Interior Of Windows
Cleaning Of Exterior Windows At First Floor Locations
Jefferson Tower
Final Cleaning - 126,068 SF
Interior/Exterior Window Cleaning
Borda Tower
Final Cleaning - 130,417 SF
Interior/Exterior Window Cleaning
Venson Tower
Final Cleaning - 123,693 SF
Interior/Exterior Window Cleaning

## Div. 10
Job Name: Memphis Towers
Division 10: Specialties
Subdivisions | Project Related Scope / Notes
Fire Extinguishers | Barry Tower
Under Cabinet Fire Extinguishers - 198 Each
Jefferson Tower
Under Cabinet Fire Extinguishers - 209 Each
Borda Tower
Under Cabinet Fire Extinguishers - 206 Each
Venson Tower
Under Cabinet Fire Extinguishers - 215 Each
Firestop Extinguishers | Barry Tower
Firestop Stovetop Extinguishers With Decorative Covers - 68 Pair
Jefferson Tower
Firestop Stovetop Extinguishers With Decorative Covers - 149 Pair
Borda Tower
Firestop Stovetop Extinguishers With Decorative Covers - 77 Pair
Venson Tower
Firestop Stovetop Extinguishers With Decorative Covers - 50 Pair
Toilet Accessories | Barry Tower
Units
Towel Bar (Franklin Brass Model #D2418PC) - 54 Each
Toilet Paper Holder (Franklin Brass Model #D2408PC) - 54 Each
Shower Rods (Moen Model #DN2141CH) - 54 Each
Common Areas
Toilet Paper Holder - 5 Each
Soap Dispensers - 4 Each
Paper Towel Dispensers - 4 Each
Towel Bar - 1 Each
Shower Rod - 1 Each
18" Grab Bars - 2 Each
36" Grab Bars - 2 Each
42" Grab Bars - 2 Each
Jefferson Tower
Units
Towel Bar (Franklin Brass Model #D2418PC) - 146 Each
Toilet Paper Holder (Franklin Brass Model #D2408PC) - 146 Each
Shower Rods (Moen Model #DN2141CH) - 146 Each
24" Shower Grab Bars - 6 Each
36" Shower Grab Bars - 6 Each
18" Grab Bars - 6 Each
36" Grab Bars - 6 Each
42" Grab Bars - 6 Each
Folding Shower Seats - 6 Each
Common Areas
Toilet Paper Holder - 7 Each
Soap Dispensers - 8 Each
Paper Towel Dispensers - 7 Each
18" Grab Bars - 2 Each
36" Grab Bars - 2 Each
42" Grab Bars - 2 Each
Borda Tower
Units
Towel Bar (Franklin Brass Model #D2418PC) - 170 Each
Toilet Paper Holder (Franklin Brass Model #D2408PC) - 170 Each
Shower Rods (Moen Model #DN2141CH) - 170 Each
24" Shower Grab Bars - 6 Each
36" Shower Grab Bars - 6 Each
18" Grab Bars - 6 Each
36" Grab Bars - 6 Each
42" Grab Bars - 6 Each
Folding Shower Seats - 6 Each
Common Areas
Toilet Paper Holder - 5 Each
Soap Dispensers - 4 Each
Paper Towel Dispensers - 4 Each
18" Grab Bars - 2 Each
36" Grab Bars - 2 Each
42" Grab Bars - 2 Each
Venson Tower
Units
Towel Bar (Franklin Brass Model #D2418PC) - 92 Each
Toilet Paper Holder (Franklin Brass Model #D2408PC) - 92 Each
Shower Rods (Moen Model #DN2141CH) - 92 Each
30" Shower Grab Bars - 5 Each
36"x18" L Shaped Shower Grab Bars - 5 Each
18" Grab Bars - 5 Each
36" Grab Bars - 5 Each
42" Grab Bars - 5 Each
Folding Shower Seats - 5 Each
Common Areas
Toilet Paper Holder - 5 Each
Soap Dispensers - 5 Each
Paper Towel Dispensers - 5 Each
Towel Bar - 1 Each
Shower Rod - 1 Each
18" Grab Bars - 2 Each
36" Grab Bars - 2 Each
42" Grab Bars - 2 Each
Mirrors | Barry Tower
Units
18"x24" Mirrors - 59 Each
Common Areas
24"x36" Mirrors - 2 Each
60"x36" Mirrors - 2 Each
Jefferson Tower
Common Areas
24"x36" Mirrors - 7 Each
Borda Tower
Common Areas
24"x36" Mirrors - 4 Each
Venson Tower
Common Areas
24"x36" Mirrors - 5 Each
Medicine Cabinets | Barry Tower
16"x26" Medicine Cabinets - 59 Each
Jefferson Tower
16"x26" Medicine Cabinets - 146 Each
Borda Tower
16"x26" Medicine Cabinets - 170 Each
Venson Tower
16"x26" Medicine Cabinets - 94 Each
Toilet Partitions | Jefferson Tower
Stalls - 2 Each
Urinal Screens - 1 Each
Borda Tower
Stalls - 3 Each
Urinal Screens - 1 Each
Signage | Barry Tower
Unit Entry Signage - 197 Each
Common Area Room Signage/Code Required Tactile Signage - 108 Each
Remove/Provide New Monument Sign Letters W/ Fair Housing Logo
Jefferson Tower
Unit Entry Signage - 208 Each
Common Area Room Signage/Code Required Tactile Signage - 134 Each
Remove/Provide New Monument Sign Letters W/ Fair Housing Logo - 2 Each
Borda Tower
Unit Entry Signage - 206 Each
Common Area Room Signage/Code Required Tactile Signage - 112 Each
Remove/Provide New Monument Sign Letters W/ Fair Housing Logo
Venson Tower
Unit Entry Signage - 215 Each
Common Area Room Signage/Code Required Tactile Signage - 96 Each
Remove/Provide New Monument Sign Letters W/ Fair Housing Logo

## Div. 11
Job Name: Memphis Towers
Division 11: Equipment
Subdivisions | Project Related Scope / Notes
Appliances | Barry Tower
20" Electric Ranges - 94 Each
30" Range Hoods (Broan F40,000-A, Ducted) - 60 Each
Refrigerators (15.6 CF, Energy Star Rated) - 187 Each
20" Electric ADA Ranges - 10 Each
ADA Refrigerators (15.6 CF, Energy Star Rated) - 10 Each
Common Area Bldg. Engineer Office Full Size Refrigerator (ADA Compliant, ES) - 1 Each
Common Area Bldg. Engineer Office Standard Electric Range (ADA Compliant) - 1 Each
Common Area Bldg. Engineer Office Standard Range Hood (Ducted) - 1 Each
Jefferson Tower
20" Electric Ranges - 157 Each
30" Range Hoods (Broan F40,000-A, Ducted) - 147 Each
Refrigerators (15.6 CF, Energy Star Rated) - 198 Each
20" Electric ADA Ranges - 10 Each
ADA Refrigerators (15.6 CF, Energy Star Rated) - 10 Each
Common Area Kitchen Full Size Refrigerator (ADA Compliant, Energy Star) - 1 Each
Common Area Kitchen Standard Electric Range (ADA Compliant) - 1 Each
Common Area Kitchen Standard Range Hood (Ducted) - 1 Each
Borda Tower
20" Electric Ranges - 182 Each
42" Range Hoods (Broan F40,000-A, Ducted) - 170 Each
Refrigerators (15.6 CF Energy Star Rated) - 196 Each
20" Electric ADA Ranges - 10 Each
ADA Refrigerators (15.6 CF, Energy Star Rated) - 10 Each
Common Area Kitchen Full Size Refrigerator (ADA Compliant, Energy Star) - 1 Each
Common Area Kitchen Standard Electric Range (ADA Compliant) - 1 Each
Common Area Kitchen Range Hood - 1 Each
Venson Tower
20" Electric Ranges - 76 Each
30" Range Hoods (Broan F40,000-A, Ducted) - 96 Each
Refrigerators (15.6 CF, Energy Star Rated) - 204 Each
20" Electric ADA Ranges - 11 Each
ADA Refrigerators (15.6 CF, Energy Star Rated - 11 Each
Common Area Lab Refrigerator (ADA Compliant) - 1 Each
Common Area Kitchen Refrigerator (ADA Compliant) - 1 Each
Common Area Kitchen Range (ADA Compliant) - 1 Each
Common Area Kitchen Range Hood - 1 Each

## Div. 14
Job Name: Memphis Towers
Division 14: Conveying Systems
Subdivisions | Project Related Scope / Notes
Elevators | Barry Tower
Elevator Cab Wall Protection - 2 Each
Elevator Service To Lock Out Floors Upon Reoccupancy
Jefferson Tower
New 14 Stop Elevator (Single Side Entry) - 1 Each
New 14 Stop Elevator (Dual Side Entry) - 1 Each
Removal/Disposal Of Existing Elevators & Components - 2 Each
Turn Key 100% of Work Required For Replacement Per Bid Package
Elevator Cab Wall Protection - 2 Each
Elevator Service To Lock Out Floors Upon Reoccupancy
Borda Tower
New 13 Stop Elevator (Single Side Entry) - 1 Each
New 13 Stop Elevator (Dual Side Entry) - 1 Each
Removal/Disposal Of Existing Elevators & Components - 2 Each
Turn Key 100% of Work Required For Replacement Per Bid Package
Elevator Cab Wall Protection - 2 Each
Elevator Service To Lock Out Floors Upon Reoccupancy
Venson Tower
Elevator Cab Wall Protection - 2 Each
Elevator Service To Lock Out Floors Upon Reoccupancy
Freight Elevator | Barry Tower
14 Stop Freight Elevator Rental - 12 Month Duration
Removal Of Exterior Brick/EIFS As Required For Attachment
Landing Platforms
Engineering of Anchorage To Existing Structure
Ongoing Service & Maintenance
Removal Upon Completion
Jefferson Tower
14 Stop Freight Elevator Rental - 12 Month Duration
Landing Platforms
Engineering of Anchorage To Existing Structure
Ongoing Service & Maintenance
Removal Upon Completion
Borda Tower
14 Stop Freight Elevator Rental - 12 Month Duration
Landing Platforms
Engineering of Anchorage To Existing Structure
Ongoing Service & Maintenance
Removal Upon Completion
Venson Tower
14 Stop Freight Elevator Rental - 12 Month Duration
Landing Platforms
Engineering of Anchorage To Existing Structure
Ongoing Service & Maintenance
Removal Upon Completion
Freight Elevator Provisions | Barry Tower
Temp Elevator Fence Panels
Temp Elevator Signage
Temp Elevator Fence Locks
Jefferson Tower
Temp Elevator Fence Panels
Temp Elevator Signage
Temp Elevator Fence Locks
Borda Tower
Temp Elevator Fence Panels
Temp Elevator Signage
Temp Elevator Fence Locks
Venson Tower
Temp Elevator Fence Panels
Temp Elevator Signage
Temp Elevator Fence Locks

## Div. 15
Job Name: Memphis Towers
Division 15: Mechanical
Subdivisions | Project Related Scope / Notes
Fire Suppression | Barry Tower
Damaged Sprinkler Head Replacement Allowance (GC Carried Allowance)
Jefferson Tower
Damaged Sprinkler Head Replacement Allowance (GC Carried Allowance)
Remove/Replace Fire Pump & Controller - 1 Each
Remove/Replace Jockey Pump & Controller - 1 Each
Borda Tower
Damaged Sprinkler Head Replacement Allowance (GC Carried Allowance)
Remove/Replace Fire Pump & Controller - 1 Each
Remove/Replace Jockey Pump & Controller - 1 Each
Venson Tower
Damaged Sprinkler Head Replacement Allowance (GC Carried Allowance)
Remove/Replace Fire Pump & Controller - 1 Each
Remove/Replace Jockey Pump & Controller - 1 Each
Plumbing | Barry Tower
Units
Disconnect Existing Service/Piping To All Fixtures Scheduled For Removal
Remove Garbage Disposals - 42 Each
Remove Wall Hung Sinks & Piping To Wall - 95 Each
Disconnect Bath Vanity Sinks & Remove Piping To Wall - 8 Each
Steel Replacement Tubs - 6 Each
Remove/Replace BT-1 Tub/Shower Trim & Valves - 54 Each
Remove/Replace BT-1 Tub/Shower Trim At Units Recently Renov. - 133 Each
Remove/Replace BT-2 Tub/Shower Trim At Units Recently Renov. - 10 Each
New L-1 Wall Hung Sinks & Faucets - 95 Each
Remove/Replace L-1 Faucets At Wall Hung Sinks To Remain - 102 Each
Replace Vanity Drop In Sinks & Faucets - 8 Each
Remove/Replace WC-1 Toilets (Including Flanges, Gerber WS-21-112) - 54 Each
Replace S-1 Kitchen Sinks & Faucets - 54 Each
Remove/Replace S-1 Kitchen Faucets Only At Sinks To Remain - 143 Each
Remove/Replace All Plumbing Piping To Fixtures To Drywall
Add Shut Off Valve & Access Panel In Unit Bathrooms - 54 Bathrooms
Stop Valves At All New Fixtures
WATER/WASTE PIPING REPLACEMENT ALLOWANCE - $40,000
Common Areas
Disconnect Existing Service/Piping To All Fixtures Scheduled For Removal
Remove/Replace SS-1 Mop Sinks - 1 Each
Remove/Replace Kitchen Sink Faucets - 1 Each
Remove/Replace Bath Vanity Faucets - 4 Each
Remove/Replace Shower Trim - 1 Each
Remove/Replace EWC-1 Drinking Fountains - 1 Each
Remove/Replace WC-2 Toilets (Incl. Flanges) - 1 Each
Remove/Replace Sump Pump At Trash Chute Room - 1 Each
Stop Valves At All New Fixtures
Jefferson Tower
Units
Disconnect Existing Service/Piping To All Fixtures Scheduled For Removal
Remove Garbage Disposals - 120 Each
Remove Wall Hung Sinks & Piping To Wall - 148 Each
Disconnect Plumbing At Tiled Showers (Removal By Others) - 136 Each
Steel Replacement Tubs - 10 Each
Remove/Replace BT-1 Tub/Shower Trim & Valves - 140 Each
Remove/Replace BT-2 Tub/Shower Trim & Valves - 6 Each
Remove/Replace Tiled Shower Drains - 146 Each
Remove/Replace BT-1 Tub/Shower Trim At Units Recently Renov. - 58 Each
Remove/Replace BT-2 Tub/Shower Trim At Units Recently Renov. - 4 Each
New L-1 Wall Hung Sinks & Faucets - 142 Each
New L-2 Wall Hung Sinks, Faucets, & ADA Lav Guards - 6 Each
Remove/Replace L-1 Faucets At Wall Hung Sinks To Remain - 58 Each
Remove/Replace L-2 Faucets At Wall Hung Sinks To Remain - 4 Each
Remove/Replace WC-1 Toilets (Including Flanges, Gerber WS-21-112) - 140 Each
Remove/Replace WC-2 Toilets (Including Flanges) - 6 Each
Replace S-1 Kitchen Sinks & Faucets - 140 Each
Remove/Replace S-1 Kitchen Faucets Only At Sinks To Remain - 58 Each
Replace S-2 Kitchen Sinks & Faucets - 6 Each
Remove/Replace S-2 Kitchen Faucets Only At Sinks To Remain - 4 Each
Remove/Replace All Plumbing Piping To Fixtures To Drywall
Add Shut Off Valve & Access Panel In Unit Bathrooms - 146 Bathrooms
Stop Valves At All New Fixtures
WATER/WASTE PIPING REPLACEMENT ALLOWANCE - 146 Units x $2,500 = $350,000
Common Areas
Disconnect Existing Service/Piping To All Fixtures Scheduled For Removal
Rod/Scope All Underslab Sanitary Sewer Piping
Clean & Jet Storm Sewer Lines & Grate At Loading Dock (Exterior)
Remove/Replace Backflow Preventer - 1 Each
New Emergency Area Drain Incl Piping/Sawcutting/Pourbacks
Remove/Replace Area Drain Pumps W/ Controllers/Alarms - 2 Each
Remove/Replace WC-1 Toilets (Incl. Flanges) - 4 Each
Remove/Replace L-3 Sinks & Faucets - 4 Each
New S-1 Sinks & Faucets - 1 Each
New S-2 Sinks & Faucets - 1 Each
Remove/Replace SS-1 Mop Sinks - 14 Each
Remove/Replace EWC-1 Drinking Fountains - 1 Each
Remove/Replace WC-3 Toilets - 2 Each (Remove 4 Existing)
Remove/Replace U-1 Urinals - 1 Each
Remove/Replace L-2 Sinks & Faucets - 3 Each
Revised Public Men/Women RR Layouts Incl US Piping/Sawcut/Pourbacks (See 5/M2.2)
Install New Shut Offs At Vertical Water Stacks At 1st Floor & 13th Floor - 21 Stacks
Stop Valves At All New Fixtures
Borda Tower
Units
Disconnect Existing Service/Piping To All Fixtures Scheduled For Removal
Remove Garbage Disposals - 131 Each
Remove Wall Hung Sinks & Piping To Wall - 6 Each
Disconnect Bath Vanity Sinks & Remove Piping To Wall - 164 Each
Disconnect FG Showers (Removal By Others) - 170 Each
Steel Replacement Tubs (Drain Extensions/Modifications As Required) - 170 Each
Remove/Replace BT-1 Tub/Shower Trim & Valves - 164 Each
Remove/Replace BT-2 Tub/Shower Trim & Valves - 6 Each
Remove/Replace BT-1 Tub/Shower Trim At Units Recently Renov. - 32 Each
Remove/Replace BT-2 Tub/Shower Trim At Units Recently Renov. - 4 Each
New L-1 Bath Vanity Drop In Sinks & Faucets - 164 Each
New L-2 Bath Vanity Drop In Sinks & Faucets - 6 Each
Remove/Replace L-1 Faucets At Sinks To Remain - 32 Each
Remove/Replace L-2 Faucets At Sinks To Remain - 4 Each
Remove/Replace WC-1 Backflush Toilets (Including Flanges, Gerber 20-022) - 164 Each
Remove/Replace WC-2 Backflush Toilets (Including Flanges) - 6 Each
Replace S-1 Kitchen Sinks & Faucets - 164 Each
Remove/Replace S-1 Kitchen Faucets Only At Sinks To Remain - 32 Each
Replace S-2 Kitchen Sinks & Faucets - 6 Each
Remove/Replace S-2 Kitchen Faucets Only At Sinks To Remain - 4 Each
Remove/Replace All Plumbing Piping To Fixtures To Drywall
Add Shut Off Valve & Access Panel In Unit Bathrooms - 170 Bathrooms
Stop Valves At All New Fixtures
WATER/WASTE PIPING REPLACEMENT ALLOWANCE - 170 Units x $2,500 = $425,000
Common Areas
Disconnect Existing Service/Piping To All Fixtures Scheduled For Removal
Remove/Replace Backflow Preventer - 1 Each
Remove/Replace SS-1 Janitor Sinks - 12 Each
Remove/Replace SS-2 Janitor Sinks - 2 Each
Remove/Replace WC-1 Toilets (Incl. Flanges) - 2 Each
Remove/Replace WC-3 Toilets (Incl. Flanges) - 1 Each
Remove/Replace WC-4 Toilets (Incl. Flanges) - 2 Each
Remove/Replace U-1 Urinals - 1 Each
Remove/Replace S-1 Sinks & Faucets - 1 Each
Remove/Replace L-2 Sinks & Faucets - 2 Each
Remove/Replace L-3 Sinks & Faucets - 2 Each
Revised Public Men/Women RR Layouts Incl US Piping/Sawcut/Pourbacks (See 2/A4.6)
Install New Shut Offs At Vertical Water Stacks At 1st Floor & 13th Floor - 18 Stacks
Stop Valves At All New Fixtures
Venson Tower
Units
Disconnect Existing Service/Piping To All Fixtures Scheduled For Removal
Remove Garbage Disposals - 79 Each
Remove Wall Hung Sinks & Piping To Wall - 207 Each
Disconnect Bath Vanity Sinks & Remove Piping To Wall - 4 Each
Disconnect Plumbing At Tiled Showers (Removal By Others) - 81 Each
Steel Replacement Tubs - 6 Each
Remove/Replace BT-1 Tub/Shower Trim & Valves (Handhelds) - 87 Each
Remove/Replace BT-2 Tub/Shower Trim & Valves (Handhelds) - 5 Each
Remove/Replace Tiled Shower Drains - 92 Each
Remove/Replace BT-1 Tub/Shower Trim At Units Recently Renov. (Handhelds) - 117 Each
Remove/Replace BT-2 Tub/Shower Trim At Units Recently Renov. (Handhelds) - 6 Each
New L-1 Wall Hung Sinks & Faucets - 196 Each
New L-2 Bath Vanity Drop In Sinks & Faucets - 11 Each
New L-1 Bath Vanity Drop In Sinks & Faucets - 4 Each
Remove/Replace L-1 Faucets At Sinks To Remain - 4 Each
Remove/Replace WC-1 Toilets (Including Flanges, Gerber WS-21-112) - 87 Each
Remove/Replace WC-2 Toilets (Including Flanges) - 5 Each
Replace S-1 Kitchen Sinks & Faucets - 87 Each
Remove/Replace S-1 Kitchen Faucets Only At Sinks To Remain - 117 Each
Replace S-2 Kitchen Sinks & Faucets - 5 Each
Remove/Replace S-2 Kitchen Faucets Only At Sinks To Remain - 6 Each
Remove/Replace All Plumbing Piping To Fixtures To Drywall
Add Shut Off Valve & Access Panel In Unit Bathrooms - 93 Bathrooms
Stop Valves At All New Fixtures
WATER/WASTE PIPING REPLACEMENT ALLOWANCE - 93 Units x $2,500 = $232,500
Common Areas
Disconnect Existing Service/Piping To All Fixtures Scheduled For Removal
Remove/Replace SS-1 Janitor Sinks - 2 Each
Remove/Replace WC-1 Toilets (Incl. Flanges) - 3 Each
Remove/Replace WC-2 Toilets (Incl. Flanges) - 2 Each
Remove/Replace S-1 Sinks & Faucets - 2 Each
Remove/Replace S-3 Sinks & Faucets - 1 Each
Remove/Replace L-1 Sinks & Faucets - 4 Each
Remove/Replace L-3 Sinks & Faucets - 1 Each
Remove/Replace EWC-1 Drinking Fountains - 1 Each
Remove/Replace SH-1 Shower Trim & Valve - 1 Each
Remove/Replace Elevator Pit Sump Pump - 1 Each
Stop Valves At All New Fixtures
General Items
Field Verification Prior To Material Ordering
Stocking/Transporting of All Materials
Fire Caulking/Firestopping Of New Required Penetrations
Permits
Trash Out Of Removed Items To GC Supplied Dumpster
Tub/Showers & Kitchen Sinks Removed By Others
Tub Refinishing | Barry Tower
Units
Refinish/Recoat Steel Tubs - 51 Each
HVAC | Barry Tower
Units
Remove/Replace Transfer Fans (Broan 511, Incl. Power Disc./Hookup) - 142 Each
Range Hood Duct/Damper/Actuator Disconnects/Demolition - 52 Each
New Range Hood Duct/Damper/Actuators - 52 Each
Remove/Replace Bathroom Ceiling Heater Fans (Broan 157) - 54 Each
Remove/Replace Bathroom Exhaust Grille Only - 54 Each
PTAC-1 PTAC Units & Wireless Thermostats - 197 Each
PTAC Unit Sleeves & Grilles - 197 Each
PTAC Replacement Turn Key (Removal/Trash Out/Caulking/Condensates/Cord/Etc.)
Common Areas
Remove/Replace Thermostats With Programmable Thermostats - 19 Each
Remove/Replace HVAC Grilles In Upper Floor Corridors (1 Per Floor) - 13 Each
Remove/Replace MAU-1 & Associated Piping (Roof Mounted)
Remove/Replace CU-1 & Associated Piping (Roof Mounted, Integral Disconnects)
Jefferson Tower
Units
Range Hood Duct/Damper/Actuator Disconnects/Demolition - 146 Each
New Range Hood Duct/Damper/Actuators - 146 Each
Remove/Replace Bathroom Exhaust Grille Only - 146 Each
PTAC-1 PTAC Units & Wireless Thermostats - 208 Each
PTAC Unit Sleeves & Grilles - 208 Each
PTAC Replacement Turn Key (Removal/Trash Out/Caulking/Condensates/Cord/Etc.)
PTAC Unit Duct Extension Kits (Incl. Cut New Openings) - 63 Each
Common Areas
Remove/Replace HP-1 Heat Pumps - 12 Each
Remove/Replace FC-1 Fan Coil Units - 12 Each
Remove/Replace Programmable Thermostats - 19 Each
Remove/Replace Exhaust Fans EF-1 - EF-12 (Integral Disconnects) - 20 Each
Repair Elevator Roof Roof Vent
Borda Tower
Range Hood Duct/Damper/Actuator Disconnects/Demolition - 171 Each
New Range Hood Duct/Damper/Actuators - 171 Each
Remove/Replace Bathroom Exhaust Grille Only - 171 Each
PTAC-1 PTAC Units & Wireless Thermostats - 206 Each
PTAC Unit Sleeves & Grilles - 206 Each
PTAC Replacement Turn Key (Removal/Trash Out/Caulking/Condensates/Cord/Etc.)
PTAC Unit Duct Extension Kits (Incl. Cut New Openings) - 74 Each
Common Areas
Remove/Replace AC1-AC6 Units (Integral Disconnects) - 6 Each
Add On/Extend AC Unit Pads - 6 Each
Remove/Replace Programmable Thermostats - 18 Each
Remove/Replace HVAC Grilles In Upper Floor Corridors (1 Per Floor) - 12 Each
Remove/Replace MAU-1 Unit (Roof Mounted, Incl. Gas Piping, Integral Disc.) - 1 Each
Remove/Replace Exhaust Fans EF-1 - EF-2 (Integral Disconnects) - 29 Each
Venson Tower
Units
Range Hood Duct Disconnects/Demolition - 92 Each
New Range Hood Duct/Damper/Actuators - 92 Each
Remove/Replace Bathroom Exhaust Grille Only - 92 Each
Remove/Replace Transfer Fans (Broan 511, Incl. Power Disc./Hookup) - 37 Each
PTAC-1 PTAC Units & Wireless Thermostats - 215 Each
PTAC Unit Sleeves & Grilles - 215 Each
PTAC Replacement Turn Key (Removal/Trash Out/Caulking/Condensates/Cord/Etc.)
PTAC Unit Duct Extension Kits (Incl. Cut New Openings) - 92 Each
Common Areas
Remove/Replace AC1-AC3 Units (Integral Disconnects) - 3 Each
Add On/Extend AC Unit Pads - 3 Each
Remove/Replace Programmable Thermostats - 17 Each
Remove/Replace CU-1 Units (Ground Mounted, Piping Ext. As Req., Integral Disc.) - 1 Each
Remove/Replace MAU-1 Unit (Interior Ground Mounted) - 1 Each
Remove/Replace HVAC Grilles In Upper Floor Corridors (1 Per Floor) - 10 Each
General Items
Field Verification Prior To Material Ordering
Stocking/Transporting of All Materials
Fire Caulking/Firestopping Of New Required Penetrations
Permits
Trash Out Of Removed Items To GC Supplied Dumpster
Equipment Required For Rooftop Equipment Installation
Piping Disconnects/Extenstions/Reconnects As Required For Equip. Change Out

## Div. 16
Job Name: Memphis Towers
Division 16: Electrical
Subdivisions | Project Related Scope / Notes
Site Electrical | Barry Tower
Relamp Existing & Repair As Necessary (Quantities T.B.D.)
Jefferson Tower
Relamp Existing & Repair As Necessary (Quantities T.B.D.)
Borda Tower
Relamp Existing & Repair As Necessary (Quantities T.B.D.)
Monument Sign Lighting
Venson Tower
Relamp Existing & Repair As Necessary (Quantities T.B.D.)
Building Electrical | Barry Tower
Units
Make Safe Demolition of Units For Construction - 197 Units
Remove Existing Electric Heaters - 142 Each
Disconnect Existing Range Hood Duct Dampers/Acutators - 52 Each
Remove/Replace Light Fixture Type F - 54 Each
Remove/Replace Light Fixture Type H - 108 Each
Relamp W/ LED & Provide New Pull Chain At Light Fixture Type J - 54 Each
Abandon Existing Nurse Call Pull Stations In Unit Bathrooms & Blank Coverplate - 197 Units
Remove/Replace Smoke/CO2 Detector Combo Devices - 54 Each
Remove/Replace Smoke Detector Devices - 54 Each
Remove/Replace All Unit Switches/Receptacles (Incl. GFCI's Where Req.) - 54 Units
Replace Switch/Receptacle Cover Plates Only - 88 Units
Change Standard Outlet With GFCI At Units With New Switches - 21 Each
Add Circuitry For New Living Room Ceiling Light (None Existing) - 54 Each
Disconnect/Reconnect Power To Thru Wall Transfer Fans - 142 Each
Electrical Connections To New Range Hood Duct Damper/Actuator - 52 Each
Install Range Hoods - 60 Each
Remove Existing Garbage Disposal Switch & Provide Blank Coverplate - 42 Each
Appliance Connections (Range/Range Hood/Refrigerator) - 198 Each
PTAC Units To Be Reconnected By HVAC Subcontractor
Common Areas
Remove/Replace Light Fixture Type A - 268 Each
Remove/Replace Light Fixture Type AE - 158 Each
Remove/Replace Light Fixture Type C - 2 Each
Remove/Replace Light Fixture Type D - 21 Each
Remove/Replace Light Fixture Type E - 33 Each
Remove/Replace Light Fixture Type EX - 59 Each
Remove/Replace Light Fixture Type EX1 - 1 Each
Remove/Replace Light Fixture Type F - 3 Each
Remove/Replace Light Fixture Type S - 2 Each
Inspect & Clean Existing Switchgear
Disconnect & Reconnect Electrical To New MAU-1 & CU-1 Unit
Remove/Replace Disconnect Switches For MAU-1 Unit
Upgrade Electrical To 450A MCOP At CU-1 Unit
Remove/Replace Switches & Receptacles (Incl. Coverplates) At All Public Areas
Remove Existing Electric Ceiling Mounted Heaters - 2 Each
Temporary Electrical Service For Freight Elevator
Temporary Electrical Service For Job Trailer
Jefferson Tower
Units
Make Safe Demolition of Units For Construction - 208 Units
Disconnect Existing Range Hood Duct Dampers/Acutators - 146 Each
Disconnect/Remove Existing Electric Bathroom Heaters - 146 Each
Remove/Replace Light Fixture Type E (Recessed Can Light) - 146 Each
Remove/Replace Light Fixture Type F - 146 Each
Remove/Replace Light Fixture Type H - 540 Each
Relamp Fixture Type U (Ext. Balconies) W/ LED Bulb - 208 Each
Abandon Existing Nurse Call Pull Stations In Unit Bathrooms & Blank Coverplate - 208 Units
Remove/Replace Smoke/CO2 Detector Combo Devices - 146 Each
Remove/Replace Smoke Detector Devices - 48 Each
Remove/Replace All Unit Switches/Receptacles (Incl. GFCI's Where Req.) - 146 Units
A/V Doorbell System/Horn/Strobes At ADA Units - 6 Each
Add Counter Height Switch For Range Hood At ADA Units - 6 Each
Disconnect/Remove Existing Baseboard Heaters - 146 Each
Electrical Connections To New Range Hood Duct Damper/Actuator - 146 Each
Install Range Hoods - 147 Each
Remove Existing Garbage Disposal Switch & Provide Blank Coverplate - 120 Each
Appliance Connections (Range/Range Hood/Refrigerator) - 209 Each
Common Areas
Remove/Replace Light Fixture Type A - 169 Each
Remove/Replace Light Fixture Type AE - 107 Each
Remove/Replace Light Fixture Type D - 56 Each
Remove/Replace Light Fixture Type E - 19 Each
Remove/Replace Light Fixture Type EX - 35 Each
Remove/Replace Light Fixture Type EX1 - 2 Each
Remove/Replace Light Fixture Type P - 18 Each
Remove/Replace Light Fixture Type PE - 15 Each
Remove/Replace Light Fixture Type R - 19 Each
Remove/Replace Light Fixture Type RE - 12 Each
Remove/Replace Light Fixture Type S - 77 Each
Inspect & Clean Existing Switchgear
Disconnect Existing & Reconnect New Fire Pump & Jockey Pump
New Power & Breakers For Sump Pump Power
Disconnect Existing & Reconnect New Heat Pumps - 12 Each
Disconnect Existing & Reconnect New Fan Coil Units - 12 Each
Remove/Replace Disconnect Switches For Fan Coil Units - 12 Each
Disconnect & Reconnect Electrical To New Roof Mounted Exhaust Fans - 20 Each
Disconnect/Reconnect Sump Pump Power - 2 Each
Remove/Replace Switches & Receptacles (Incl. Coverplates) At All Public Areas
Remove Ceiling Heaters In Entry Vestibule
Temporary Electrical Service For Freight Elevator
Temporary Electrical Service For Job Trailer
Borda Tower
Units
Make Safe Demolition of Units For Construction - 206 Units
Disconnect Existing Range Hood Duct Dampers/Acutators - 170 Each
Remove/Replace Light Fixture Type F - 170 Each
Remove/Replace Light Fixture Type G - 434 Each
Remove/Replace Light Fixture Type H - 304 Each
Abandon Existing Nurse Call Pull Stations In Unit Bathrooms & Blank Coverplate - 206 Units
Remove/Replace Smoke/CO2 Detector Combo Devices - 170 Each
Remove/Replace Smoke Detector Devices - 64 Each
Remove/Replace All Unit Switches/Receptacles (Incl. GFCI's Where Req.) - 170 Units
Add Circuitry For New Living Room Ceiling Light (None Existing) - 170 Each
Add Circuitry For New Bedroom Ceiling Light (None Existing) - 64 Each
Disconnect/Remove Existing Baseboard Heaters - 64 Each
Add Counter Height Switch For Range Hood At ADA Units - 6 Each
A/V Doorbell System/Horn/Strobes At ADA Units - 6 Each
Electrical Connections To New Range Hood Duct Damper/Actuator - 170 Each
Install Range Hoods - 170 Each
Remove Existing Garbage Disposal Switch & Provide Blank Coverplate - 131 Each
Appliance Connections (Range/Range Hood/Refrigerator) - 207 Each
Common Areas
Remove/Replace Light Fixture Type A - 108 Each
Remove/Replace Light Fixture Type AE - 112 Each
Remove/Replace Light Fixture Type D - 14 Each
Remove/Replace Light Fixture Type E - 2 Each
Remove/Replace Light Fixture Type EX - 30 Each
Remove/Replace Light Fixture Type EX1 - 1 Each
Remove/Replace Light Fixture Type P - 33 Each
Remove/Replace Light Fixture Type PE - 7 Each
Remove/Replace Light Fixture Type R - 19 Each
Remove/Replace Light Fixture Type RE - 9 Each
Remove/Replace Light Fixture Type S - 33 Each
Inspect & Clean Existing Switchgear
Disconnect Existing & Reconnect New Fire Pump & Jockey Pump
Disconnect & Reconnect Electrical To New AC1-AC6 Units - 6 Each
Disconnect & Reconnect Electrical To New MAU-1 Unit
Disconnect & Reconnect Electrical To New Roof Mounted Exhaust Fans - 29 Each
Remove/Replace Switches & Receptacles (Incl. Coverplates) At All Public Areas
Temporary Electrical Service For Freight Elevator
Temporary Electrical Service For Job Trailer
Venson Tower
Units
Make Safe Demolition of Units For Construction - 215 Units
Disconnect Existing Range Hood Duct Dampers/Acutators - 92 Each
Remove/Replace Light Fixture Type F - 92 Each
Remove/Replace Light Fixture Type H - 322 Each
Relamp Wall Can Light In Closet With LED Bulb - 46 Each
Remove/Replace Wall Mounted Living Room Sconce (Unit Type A's) - 48 Each
Relamp Ext. Balcony Can Lights With LED Bulb - 430 Each
Abandon Existing Nurse Call Pull Stations In Unit Bathrooms & Blank Coverplate - 215 Units
Remove/Replace Smoke/CO2 Detector Combo Devices - 92 Each
Remove/Replace Smoke Detector Devices - 46 Each
Remove/Replace All Unit Switches/Receptacles (Incl. GFCI's Where Req.) - 178 Units
Disconnect/Reconnect Power To Thru Wall Transfer Fans - 32 Each
Disconnect/Remove Existing Baseboard Heaters - 32 Each
Add Counter Height Switch For Range Hood At ADA Units - 5 Each
A/V Doorbell System/Horn/Strobes At ADA Units - 5 Each
Electrical Connections To New Range Hood Duct Damper/Actuator - 92 Each
Install Range Hoods - 96 Each
Remove Existing Garbage Disposal Switch & Provide Blank Coverplate - 79 Each
Appliance Connections (Range/Range Hood/Refrigerator) - 216 Each
Common Areas
Remove/Replace Light Fixture Type A - 120 Each
Remove/Replace Light Fixture Type AE - 104 Each
Remove/Replace Light Fixture Type D - 6 Each
Remove/Replace Light Fixture Type E - 5 Each
Remove/Replace Light Fixture Type EX - 30 Each
Remove/Replace Light Fixture Type F - 2 Each
Remove/Replace Light Fixture Type P - 36 Each
Remove/Replace Light Fixture Type PE - 2 Each
Remove/Replace Light Fixture Type R - 19 Each
Remove/Replace Light Fixture Type RE - 6 Each
Remove/Replace Light Fixture Type S - 40 Each
Remove & Provide Blank Plate At Existing Fixture Type T - 210 Each
Remove/Replace Light Fixture Type V - 76 Each
Remove/Replace Light Fixture Type VE - 2 Each
Inspect & Clean Existing Switchgear
Disconnect Existing & Reconnect New Fire Pump & Jockey Pump
Disconnect & Reconnect Electrical To New AC1-AC3 Units - 3 Each
Disconnect & Reconnect Electrical To New CU-1 Unit - 1 Each
Disconnect & Reconnect Electrical To New MAU-1 Unit - 1 Each
Remove/Replace Disconnect Switches For New MAU-1 Unit - 1 Each
Upgrade Electrical To 450A MCOP At CU-1 Unit
Remove/Replace Switches & Receptacles (Incl. Coverplates) At All Public Areas
Temporary Electrical Service For Freight Elevator
Temporary Electrical Service For Job Trailer
General Items
Field Verification Prior To Material Ordering
Stocking/Transporting of All Materials
Fire Caulking/Firestopping Of New Required Penetrations
Permits
Do Not Reference Plans For Switch/Receptacle Locations
Trash Out Of Removed Items To GC Supplied Dumpster
Surveillance Systems
Barry Tower
Surveillance System Upgrades/Additions
Jefferson Tower
Surveillance System Upgrades/Additions
Borda Tower
Surveillance System Upgrades/Additions
Venson Tower
Surveillance System Upgrades/Additions
Fire Alarm | Barry Tower
Modifications To Fire Alarm System For Abandoning Nurse Call System
Jefferson Tower
Modifications To Fire Alarm System For Abandoning Nurse Call System
Borda Tower
Modifications To Fire Alarm System For Abandoning Nurse Call System
Venson Tower
Modifications To Fire Alarm System For Abandoning Nurse Call System

## Unit Counts
Job Name: Memphis Towers
Unit Counts
Subdivisions | Project Related Scope / Notes
Barry Tower | Unit Type A - 104 Each
Unit Type B - 2 Each
Unit Type D - 81 Each
Unit Type E (ADA) - 10 Each
Total Units - 197 Each
Borda Tower | Unit Type A - 122 Each
Unit Type C (ADA) - 10 Each
Unit Type D - 24 Each
Unit Type G - 48 Each
Unit Type K - 2 Each
Total Units - 206 Each
Jefferson Tower | Unit Type A - 132 Each
Unit Type B - 12 Each
Unit Type D - 12 Each
Unit Type F - 1 Each
Unit Type G - 38 Each
Unit Type H (ADA) - 10 Each
Unit Type J - 1 Each
Unit Type J1 - 1 Each
Unit Type K - 1 Each
Total Units - 208 Each
Venson Tower | Unit Type A - 122 Each
Unit Type B (ADA) - 11 Each
Unit Type C - 41 Each
Unit Type F - 40 Each
Unit Type H - 1 Each
Total Units - 215 Each
Total Project Units | Total Project Units - 826 Each
Total Project Square Footage | Barry Tower - 116,688 SF
Borda Tower - 130,417 SF
Jefferson Tower - 126,068 SF (Incl. Basement)
Venson Tower - 123,693 SF
Total Project Square Footage - 496,866 SF